## Hoja1
ITEM NO. | DESCRIPTION | Qty. Shipped | DIMENSIONS METERS L X W X H | WEIGHT
SPU Generator Set 3.75MW-11KV
UNIT#1 | Stationary Power Unit Serial: P1224C3051 | 1 | 11.00X4.02X3.34 | 140,000 LBS
Engine Model 20-710-GH
Alternator Serial WE 101846 Rev.M
SPU Generator Set 3.75MW-11KV
UNIT#2 | Stationary Power Unit Serial: P224C2162 | 1 | 11.00X4.02X3.34 | 140,000 LBS
Engine Model 20-710-GH
Alternator Serial WE 101054 Rev.M
Alternator Model 18557W2 661
SPU Generator Set 3.75MW-11KV
UNIT#3 | Stationary Power Unit Serial: P224C2163 | 1 | 11.00X4.02X3.34 | 140,000 LBS
Engine Model 20-710-GH
Alternator Serial WE 102390 Rev.M
Alternator Model 18557W2 661
SPU Generator Set 3.75MW-11KV
UNIT#4 | Stationary Power Unit Serial: P224C2164 | 1 | 11.00X4.02X3.34 | 140,000 LBS
Engine Model 20-710-GH
Alternator Serial WE 60ZX1915 Rev.M
Alternator Model 18557W2 661